## 130400141243_202203280726
Column1 | Column2
Device | Q-tag Fridge-tag 2
Vers | 0.5
Fw Vers | 3.4p0o
Sensor | 1
Conf
Serial | 130400141243
PCB | BG0211306532
CID | 1000
Lot | 1792_20_08
Zone | 0.00
Measurement delay | 10
Moving Avrg | 1
User Alarm Config | 0
User Clock Config | 1
Alarm Indication | 0
Temp unit | C
Alarm
0
T AL | -0.5, t AL
1
T AL | +8.0, t AL
Int Sensor
Timeout | 1, Offset
Report history length | 60
Det Report | 3
Use ext devices | 0
Test Res | 1, Test TS
Hist
TS Actv | 2022-03-05 11
TS Report Creation | 2022-03-28 07
1
Date | 2022-03-28
Min T | +3.2, TS Min T
Max T | +3.5, TS Max T
Avrg T | +3.3
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 8
Checked
TS AM | 07
2
Date | 2022-03-27
Min T | +2.9, TS Min T
Max T | +3.8, TS Max T
Avrg T | +3.2
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
3
Date | 2022-03-26
Min T | +2.3, TS Min T
Max T | +3.3, TS Max T
Avrg T | +2.8
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
4
Date | 2022-03-25
Min T | +2.1, TS Min T
Max T | +2.8, TS Max T
Avrg T | +2.4
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
5
Date | 2022-03-24
Min T | +1.8, TS Min T
Max T | +2.5, TS Max T
Avrg T | +2.1
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
6
Date | 2022-03-23
Min T | +1.7, TS Min T
Max T | +2.2, TS Max T
Avrg T | +1.9
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
7
Date | 2022-03-22
Min T | +2.0, TS Min T
Max T | +2.3, TS Max T
Avrg T | +2.0
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
8
Date | 2022-03-21
Min T | +2.2, TS Min T
Max T | +2.8, TS Max T
Avrg T | +2.4
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
9
Date | 2022-03-20
Min T | +2.7, TS Min T
Max T | +3.1, TS Max T
Avrg T | +2.9
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
10
Date | 2022-03-19
Min T | +3.0, TS Min T
Max T | +4.1, TS Max T
Avrg T | +3.2
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
11
Date | 2022-03-18
Min T | +2.8, TS Min T
Max T | +3.6, TS Max T
Avrg T | +3.2
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
12
Date | 2022-03-17
Min T | +3.1, TS Min T
Max T | +4.6, TS Max T
Avrg T | +3.4
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
13
Date | 2022-03-16
Min T | +3.5, TS Min T
Max T | +4.2, TS Max T
Avrg T | +3.7
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
14
Date | 2022-03-15
Min T | +3.7, TS Min T
Max T | +5.2, TS Max T
Avrg T | +3.9
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 8
Checked
TS AM | 08
15
Date | 2022-03-14
Min T | +4.0, TS Min T
Max T | +5.3, TS Max T
Avrg T | +4.2
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
16
Date | 2022-03-13
Min T | +4.1, TS Min T
Max T | +4.8, TS Max T
Avrg T | +4.4
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
17
Date | 2022-03-12
Min T | +4.1, TS Min T
Max T | +4.9, TS Max T
Avrg T | +4.6
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
18
Date | 2022-03-11
Min T | +4.2, TS Min T
Max T | +4.9, TS Max T
Avrg T | +4.5
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
19
Date | 2022-03-10
Min T | +3.8, TS Min T
Max T | +5.1, TS Max T
Avrg T | +4.1
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
20
Date | 2022-03-09
Min T | +3.3, TS Min T
Max T | +4.0, TS Max T
Avrg T | +3.6
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
21
Date | 2022-03-08
Min T | +3.3, TS Min T
Max T | +4.1, TS Max T
Avrg T | +3.7
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 8
Checked
TS AM | 08
22
Date | 2022-03-07
Min T | +3.7, TS Min T
Max T | +4.5, TS Max T
Avrg T | +4.1
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 0
23
Date | 2022-03-06
Min T | +4.0, TS Min T
Max T | +7.1, TS Max T
Avrg T | +4.5
Alarm
0
t Acc | 0
1
t Acc | 0
Int Sensor timeout
t AccST | 0
Events | 8
Checked
TS AM | 08
24
Date | 2022-03-05
Min T | +4.3, TS Min T
Max T | +14.9, TS Max T
Avrg T | +5.0
Alarm
0
t Acc | 0
1
t Acc | 31
Int Sensor timeout
t AccST | 0
Events | 24
Checked
TS AM | 11
TS PM | 12
Cert
Vers | 1.0
Lot | 1792_20_08
Issuer | Berlinger & Co. AG
Valid from | 2020-08-21 07
Owner | Berlinger & Co. AG
Public Key | d73cd26b379bd0a250d98498e15c739ab53594e9768b247a0713637cba30e474b4fcc1aae45f30ec7cc878c102cf9648d775670d2f93b48726a0f21d3ca71074
Sig Cert | 6eef7b154b51a1f4a4186e76b495d43dc25cedbaab8b18486895df5d773530795679b8aa3678e511e45e28cb894bcc051dd90d13f19f699c4f42b46c4ed5d621
Sig | ec3ca65a802abce36aacf3e12679075acf05c8f55586e79c16a489c59ac4f3b975f34b4d1596a2083a31b1f6172bcca388463a95e4f2ed63bdc5808433fb6820
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.